## Instructions
Simple Analysis Of Alternative Fuel Furnace Systems
This Decision Aid Calculator will help estimate ownership & operating costs of alternative fuel heating systems in poultry houses.
Change values only in |  | highlighted | cells in the "Your Data" column of the Input Factors Table.
The example data under Your Data should be changed to your farm's specific input factor values.
An Ownership and Operating Cost Comparison Table will be computed from your input factors.
Background Input you will need for your farm:
1 - House Size
2 - Annual Propane Use estimate
3 - Cost of Propane
4 - Cost of Alternative Fuel
5 - Per Unit Energy Content of Alternative Fuel
6 - Percent of Propane Targeted to Replace
7 - Full Cost of Installed Alternative Fuel Furnace System
8 - Furnace System Efficiency Percentage
9 - Annual Hours of Additional Labor
10- Hourly Labor Cost
11- Estimated Years of System Life
12- Length of Loan for System Purchase
13- Annual Maintenance Cost Estimate (as a Percentage of New Cost)
14- Interest Rate Charged for System Loan
Once values are entered for your specific situation, results can be printed by pressing Ctrl plus P together.
To Continue to the Calculator Sheet, click on the Propane Cost Sheet tab below. |  |  |  | Propane Cost Sheet tab below.

## Propane Cost Sheet
Simple Analysis Of Alternative Fuel Furnace Systems
INPUT FACTORS |  |  |  | OWNERSHIP AND OPERATIONAL COST COMPARISON
Estimated Values |  | Your Data | Unit |  |  | Conventional | Alternative
| House Length | 500 | Feet | Annual Production
| House Width | 40 | Feet |  | Gallons Of Propane Used | 5000 | 750
| Annual Propane Consumption | 5000 | Gallons |  | Gallons Of Propane Saved | 0 | 4250
| Propane Cost Per Gallon | 1.25 | Dollars |  | Pounds Of Alternative Fuel Used | 0 | 69563.3929
| Cost Of Alternative Fuel As Used | 200 | Dollars/Ton |  | Tons Alternative Fuel Used | 0 | 34.7817
| Energy Of Alternative Fuel | 8000 | BTUs/Pound |  | Total BTUs Used (Million) | 458.3 | 625.2521
| Percent Of Propane Replaced | 85 | Percent (%) |  | Gallons Of Propane Used Per Ft2 | 0.25 | 0.0375
| Cost Of Installed Furnace System | 15000 | Dollars |  | Pounds Of Alternative Fuel Used Per Ft2 | 0 | 3.4782
| Furnace System Efficiency | 70 | Percent (%) | Annual Costs
| Annual Additional Labor | 35 | Hours | Variable Costs (Operational)
| Labor Cost | 10 | Dollars/Hour |  | Propane | 6250 | 937.5
| Useful Life Of System | 7 | Years |  | Alternative Fuel | 0 | 6956.3393
| Length Of Loan For System | 5 | Years |  | Hired Labor | 0 | 350
| Annual Maint. Cost (% Of New) | 4 | Percent (%) |  | Subtotal - Variable Costs | 6250 | 8243.8393
| Interest Rate | 7 | Percent (%) | Fixed Costs (Ownership)
| Energy of Propane (Fixed) | 91660 | BTUs/Gallon |  | Annual System Loan Repayment | 0 | 3658.3604
[5 empty] | Annual Maintenance Expense | 0 | 600
All assumptions and calculations are on a per-house basis |  |  |  |  | Subtotal - Fixed Costs | 0 | 4258.3604
|  |  |  | Total Annual Costs |  | 6250 | 12502.1997
National Poultry Technology Center - Auburn University |  |  |  | Total Annual Savings (Losses) |  |  | -6252.1997